[Insert Logo here]

Laboratory Name

MDH State Lab Code

EPA Lab ID

NPDES Permit Number (if applicable)

# Demonstration of Capability (DOC) Form for Chemistry

Do not use this form for Microbiology Testing DOCs. This form is intended as guidance only.

For specific requirements, please refer to 2009 TNI Standard, Vol. 1, Module 4

Reference Method (with revision number and effective date)

SOP Number (with revision number and effective date)

DOC Type:    ☐ Initial    ☐ Ongoing

Reason(s) for this DOC:

☐ New Method

☐ Change to Procedure

☐ New Analyte Added to SOP

☐ New Instrument

☐ New Analyst

☐ Annual Demonstration (Ongoing)

DOC Data Source: 
(What procedure did you use to perform this study?)

☐ Proficiency Testing Study (unknown to lab and analyst) Study ID: __________

☐ Actual Sample (e.g. effluent; sample with known, typical conc. range)

☐ QC Sample (e.g. Lab Control Sample, Lab Fortified Blank, CCV)

Note: The QC may be analyzed concurrently or over a series of days.

☐ Monitor Trends (e.g. review of control charts)

Target Analyte(s)

Matrix

Instrument Name (with ID #, Model #, and Serial #)

Prep Technique

Prep Analyst Name(s) (print)

Reported Units (values must be recorded in same units)

Summary Chart

(Only applicable to DOCs using ‘Actual Samples’ or ‘QC Samples’ for the data source. For all other DOC data sources, attach a copy of the raw data to this form. Recoveries must meet the criteria in your Quality Manual, as detailed here.)

*Acceptable Recovery: ________ % to _______ %, Acceptable Standard Deviation or % RSD: _______

|  | Analysis Date | Unique Lab Sample ID | True Value (if known) | Recovered Value | % Recovery | Pass/Fail* |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |

Mean % Recovery ______ %, Std Deviation of Recovered Values ________, Relative Std Deviation ______ %

□ PASS          □ FAIL

Analyst Name (print)				Analyst Signature				Approval Date

Reviewer/Manager Name (print)		Reviewer/Manager Signature			Approval Date

Effective Date:
Edited by MNELAP, 2013