# Appendix H: Facility/Agency Shelter-in-Place Checklists and Response Items

## Shelter-in-Place Checklists

This checklist is not disaster-specific, so all items will not necessarily be applicable depending on the nature of the disaster

RAPID RESPONSE CHECKLIST

Activate facility’s Emergency Operations Plan (EOP) and appoint a Facility Incident Commander (IC) if warranted.

Identify safe and unsafe areas of the facility relative to the specific threat.

Move residents from unsafe areas to safe areas. Be sure to include medications, important personal items, etc.

Increase the safety of “safe areas” by reducing hazards, e.g., close, lock and move away from windows (during extreme winds), exterior doors, and other openings that may create hazards.

Plan for limited availability of food, water and other essential disaster supplies for residents and staff during the time period anticipated for sheltering in place. In addition to non-perishable food and water and critical medications, consider battery-powered radios, first aid supplies, extra blankets, flashlights, batteries, duct tape, plastic sheeting, garbage bags, and eating utensils.

Comfort residents and assess for signs of distress.

Notify appropriate state survey agency to report an unusual occurrence and activation of facility’s EOP.

Continually reassess the safety of sheltering in place and prepare to activate the facility evacuation procedures if at any time the risk of sheltering in place is greater than the risk to evacuate. Keep the appropriate state survey agency notified of any change in status.

Administrative Items/Office Supplies

| Item | Where to Get It (Location) | Notes |
| --- | --- | --- |
| Additional ‘room clear’ labels (100) |  |  |
| Evacuation tags |  |  |
| Extension Cords |  |  |
| Extra Batteries for flashlights/radios |  |  |
| Extra Forms – HICS FORMS |  |  |
| Flashlight/Headlamps (battery operated) |  |  |
| Laptop and Charger (Portable Printer if available) |  |  |
| Note Pad, Pencils, Pens, Permanent Markers |  |  |
| Scissors, Stapler, Tape, Rubber Bands |  |  |
| Sheet protectors for transfer documentation to accompany patients |  |  |
| Weather Radio (battery operated) |  |  |

Facilities/Engineering

| Item | Where to Get It (Location) |  |  | Notes |
| --- | --- | --- | --- | --- |
| Backup Generator |  |  |  |  |
| Diesel fuel to supply generators for power and for cooling systems |  |  |  |  |
| Backup supply of gasoline so staff can get to and from work |  |  |  |  |

Medical Records

| Item | Where to Get It (Location) |  | Notes |  |
| --- | --- | --- | --- | --- |
| Emergency placards |  |  |  |  |
| Medical records |  |  |  |  |

Food/Water

| Item | Where to Get It (Location) |  | Notes |  |
| --- | --- | --- | --- | --- |
| Drinking water (one gallon per day per person) |  |  |  |  |
| Food (nonperishable) (staff and residents) |  |  |  |  |

Medical Items

| Item | Where to Get It (Location) |  | Notes |  |
| --- | --- | --- | --- | --- |
| Wheelchairs (WC) |  |  |  |  |
| Walkers |  |  |  |  |
| Crutches |  |  |  |  |
| Latex Gloves (M, L) |  |  |  |  |
| Crash/Code Cart |  |  |  |  |
| Portable oxygen cylinders (D type) |  |  |  |  |
| Medicines (Specific Lists could be made to indicate specific medications and needed quantity) |  |  |  |  |
| Medical Supplies/equipment (Specific Lists could be made to indicate specific types of medical supplies/equipment needed.) |  |  |  |  |

First Aid Items

| Item |  | Where to Get It (Location) |  | Notes |
| --- | --- | --- | --- | --- |
| Blankets & Sheets |  |  |  |  |
| Bleach/sterilizing cleaner |  |  |  |  |
| Chux |  |  |  |  |
| Absorbent Underwear |  |  |  |  |
| Emesis bags |  |  |  |  |
| Extra Batteries for Diabetic Pump |  |  |  |  |
| Hand sanitizer |  |  |  |  |
| Incontinence products |  |  |  |  |
| Latex Gloves (medium, and large) |  |  |  |  |
| Personal Wipes |  |  |  |  |
| Plastic Bags |  |  |  |  |
| Sanitizer wipes |  |  |  |  |

Personal Items

| Item | Where to Get It (Location) |  | Notes |  |
| --- | --- | --- | --- | --- |
| Combs/brushes |  |  |  |  |
| Deodorant |  |  |  |  |
| Denture Holders/Cleaners |  |  |  |  |
| Extra Batteries for Hearing Aids |  |  |  |  |
| Facial tissues and Toilet Paper |  |  |  |  |
| Lotion |  |  |  |  |
| Non-Skid Socks for Ambulatory Patients without Shoes |  |  |  |  |
| Razors/Shaving Cream |  |  |  |  |
| Soap |  |  |  |  |
| Toothbrush/Toothpaste, Mouthwash |  |  |  |  |

Janitorial Items

| Item | Where to Get It (Location) |  | Notes |  |
| --- | --- | --- | --- | --- |
| Disposable Cups, Forks, Knives, Plates, Spoons, Straws |  |  |  |  |
| Duct Tape |  |  |  |  |
| Flashlight |  |  |  |  |
| Fluorescent Vest |  |  |  |  |
| Garbage bags, plastic |  |  |  |  |
| Hammer and Nails |  |  |  |  |
| Lighters/matches |  |  |  |  |
| Paper towels |  |  |  |  |
| Plastic sheeting for covering broken windows, etc. |  |  |  |  |
| Screws and Screwdriver |  |  |  |  |
| Zip close plastic bag – gallon |  |  |  |  |

Response

Notes: Some actions are dependent upon the nature of the disaster.

| Item | Assigned | Completed |
| --- | --- | --- |
| Condition of residents being monitored continuously, particularly those with respiratory problems and provide oxygen or suitable assistance. |  |  |
| Windows and exterior doors are closed |  |  |
| Air intake vents and units in bathrooms, kitchen, laundry, and other rooms closed |  |  |
| Heating, cooling, and ventilation systems that take in outside air, both central and individual room units turned off. (Units that only re-circulate inside air may have to be kept running during very cold or very hot weather to avoid harm to residents) |  |  |
| Food, water, and medications covered and protected from airborne contamination and from contact with waste materials, including infectious waste. |  |  |
| Contact with emergency authorities regarding the hazard and internal conditions. |  |  |
| Contact public health authorities for advice regarding the need for decontamination, and the means for doing it. |  |  |
| Standby vehicles with pre-filled fuel tanks stationed on the highest point of ground nearby. (Flooding or High Water) |  |  |
| Trained staff available who can remain at the facility for at least 72 hours, especially to manage non-ambulatory residents or others with additional needs. |  |  |
| Support teams available on standby with communications equipment to assist in getting additional supplies. |  |  |
| Medical equipment, medicines, refrigerators, stoves, food and water, supplies, beds, desks, and chairs moved to a second floor location or raised off the floor to ensure protection against possible flooding. |  |  |

*For Reference if Needed* Pharmacy Evacuation Cache

| Medication | Strength/Concentration | Quantity |
| --- | --- | --- |
| Acetaminophen | 375 mg tab | 500 |
| ASA | 81 mg chewable | 30 |
| Albuterol | MDI | 5 |
| Furosemide (lasix) | 40 mg injectable | 5 |
| Furosemide (lasix) | 40 mg tab | 20 |
| Oxycodone elixir | 10 mg/5 ml tubs | 20 |
| Ibuprofen | 200 mg tabs | 100 |
| Acetaminophen | 160 mg/5 ml | 1 bottle |
| Diphenhydramine | 50 mg/2 ml injectable | 10 |
| Diphenhydramine | 25 mg tab | 50 |
| Enoxaparin | 100 mg/syringe | 15 |
| Droperidol | 5 mg/2 ml | 15 |
| Haloperidol | 10 mg tab | 25 |
| Olanzapine | 10 mg tab | 25 |
| Lorazepam | 2 mg/2 ml injectable | 15 |
| Ativan | 1 mg tab | 25 |
| Insulin | Regular | 2 bottles |
| Insulin | 70/30 | 2 bottles |
| Marcaine | 0.25% with epinephrine | 2 bottles |
| Hydromorphone | 1 mg/2 ml | 20 |
| Saline lock | 5 ml | 50 |
| Syringe tuberculin with needle | N/A | 20 |
| Syringe 12 ml | Luer lock | 20 |
| Syringe | 3 ml with 1 inch 23-gauge needle | 20 |
| Needle | 18-gauge 1.5 inch | 20 |
| Needle | 25-gauge 1.5 inch | 10 |

### *This is only an example of what an Evacuation Pharmacy Cache could look like, modifications may be needed based on residents needs*