<<Facility Name>>

Battery-operated Emergency Lights – Test Log for (Year): ______

A 30-second monthly functional test and a 90-minute annual test must be performed on each of the facility’s battery-operated emergency lights. Indicate the date of test, the type of test conducted (M = 30-second test; A = 90-minute test), whether the unit passed or failed the test (P = Pass; F = Fail **) and initial each monthly entry.

| Unit Location | Date Installed | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Battery Replaced |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

** Attach a separate sheet explaining why the unit failed the test and what was done to correct the problem, when and by whom