<<Facility Name>>

FIRE ALARM SYSTEM: SEMIANNUAL INSPECTION LOG FOR (Year): ______

| Date |  |  |
| --- | --- | --- |
| Inspector |  |  |
| Control unit trouble signals |  |  |
| Remote annunciator(s) |  |  |
| Automatic dialer |  |  |
| Alarm notification appliances |  |  |
| Manual fire alarm boxes |  |  |
| Heat detectors |  |  |
| Smoke detectors |  |  |
| Duct detectors |  |  |
| Magnetic hold-open devices |  |  |

FIRE ALARM SYSTEM: BATTERY INSPECTION/TEST LOG FOR (Year): ______

Battery Type: __________________	Date Installed/Replaced: __________________

| Date |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Performed by |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspected |  |  |  |  |  |  |  |  |  |  |  |  |
| Test performed: |  |  |  |  |  |  |  |  |  |  |  |  |
| Load voltage |  |  |  |  |  |  |  |  |  |  |  |  |
| Discharge |  |  |  |  |  |  |  |  |  |  |  |  |
| Specific gravity |  |  |  |  |  |  |  |  |  |  |  |  |
| Annual charger test |  |  |  |  |  |  |  |  |  |  |  |  |

Comments (Explain any problems found, as well as any repairs/modifications made): _______________________________________________________________________________ _______________________________________________________________________________ _______________________________________________________________________________ _______________________________________________________________________________ _______________________________________________________________________________ _______________________________________________________________________________ _______________________________________________________________________________ _______________________________________________________________________________