<<Facility Name>>

| Activity | Enter readings/conditions found: P = Pass F = Fail (corrective action req’d) |  |  |  |  |  |  |  |  | Comments/Corrective Actions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date of inspection |  |  |  |  |  |  |  |  |  |  |
| Inspection performed by |  |  |  |  |  |  |  |  |  |  |
| General condition of prime mover/generator |  |  |  |  |  |  |  |  |  |  |
| Condition of belts & hoses |  |  |  |  |  |  |  |  |  |  |
| Engine oil level (%) |  |  |  |  |  |  |  |  |  |  |
| Lube oil heater |  |  |  |  |  |  |  |  |  |  |
| Coolant level (%) |  |  |  |  |  |  |  |  |  |  |
| Water pump |  |  |  |  |  |  |  |  |  |  |
| Jacket water heater |  |  |  |  |  |  |  |  |  |  |
| Radiator/hoses |  |  |  |  |  |  |  |  |  |  |
| Electrical system |  |  |  |  |  |  |  |  |  |  |
| Battery condition |  |  |  |  |  |  |  |  |  |  |
| Battery electrolyte level |  |  |  |  |  |  |  |  |  |  |
| Battery specific gravity |  |  |  |  |  |  |  |  |  |  |
| Battery charger |  |  |  |  |  |  |  |  |  |  |
| Exhaust system |  |  |  |  |  |  |  |  |  |  |
| Fuel supply level (%) |  |  |  |  |  |  |  |  |  |  |
| Fuel tank vent(s) |  |  |  |  |  |  |  |  |  |  |

Emergency Generator – Weekly Inspection Checklist