<<Facility Name>>

Kitchen Hood Fire-extinguishing System – Monthly Inspection Log for (Year): __

| Indicate whether the following conditions passed inspection. Y = Yes; N = No (Explain in Comments); N/A = Not applicable.. |
| --- |
| Date |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspector |  |  |  |  |  |  |  |  |  |  |  |  |
| Exhaust fan operating properly |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease filters in place/clean |  |  |  |  |  |  |  |  |  |  |  |  |
| Extinguishing system in armed/ready condition |  |  |  |  |  |  |  |  |  |  |  |  |
| No obvious physical damage |  |  |  |  |  |  |  |  |  |  |  |  |
| Nozzle blow off caps in place/undamaged |  |  |  |  |  |  |  |  |  |  |  |  |
| Manual actuators unobstructed |  |  |  |  |  |  |  |  |  |  |  |  |
| Tamper seals intact |  |  |  |  |  |  |  |  |  |  |  |  |
| Pressure gauges in operable range |  |  |  |  |  |  |  |  |  |  |  |  |
| Maintenance tag in place |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable fire extinguisher(s) unobstructed |  |  |  |  |  |  |  |  |  |  |  |  |
| COMMENTS: _____________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ __________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |